Pump Logger Standby Screens
PUMP LOGGER 07:40
TANK FULL
PUMP OFF
PUMP LOGGER 07:40
TANK LOW
PUMP ON
PUMP LOGGER 07:40
TANK LOW
PUMP OFF (RESTING)
PUMP LOGGER 07:40
TANK LOW
PUMP OFF (DISABLED)

---
#00 Mon 04-08-2014
ON : 08:10:00
OFF: 08:15:18
   → 5m18s
Pump Logger Menu
LOGS
- Intervals
- Day summaries
- Remove
#00 Monday
     04-08-2014
   → 6h31m20s
Removing Logs
older than a day
REMOVE LOGS
- Older than a day
- Older than a week
- All
Removing Logs
older than a day
Removing All Logs
Set: UP time
 [01]
SET UP/REST TIMES
UP:01h REST:01h
- Set UP time
- Set REST time
Main Menu
- LOGS
- SETUP PUMP
- SET TIME
SETUP PUMP
- SET UP/REST TIMES
- SET PUMP FRAME
Set: REST time
 [01]
SET PUMP FRAME
START:07h END:19h
- Set START time
- Set END time
Set: START HOUR
 [07]
Set: END HOUR
 [19]
SET TIME
   07:35
- Set HOURS
- Set MINUTES
Set: HOUR
 [07]
Set: MINUTES
 [35]